### 1. Cardiac Output and NIRS in CPET (Prof. Piergiuseppe Agostoni)

This abstract addresses the essential role of Cardiac Output (CO) and the arteriovenous oxygen difference (a-vO2diff)  in interpreting maximal oxygen uptake (VO2) using the fundamental Fick Principle: VO2= CO x (Ca-Cv). Measuring CO during Cardiopulmonary Exercise Testing (CPET) is crucial for identifying physiological limitations beyond just VO2. Methods for measuring CO include the Inert Gas Rebreathing Method (using soluble and insoluble gases like SF6 or N2O to measure Pulmonary blood flow) and non-invasive devices such as PhysioFlow. PhysioFlow uses six electrodes on the thorax to continuously monitor heart rate (HR) and stroke volume (SV), deriving CO and cardiac index by stroke waveform morphology analysis. This device provides accurate, reproducible, and sensitive measurements, even in challenging patient populations.

The detailed analysis of VO2 deficits is highly relevant for understanding functional capacity. For example, in a patient with a measured VO2max that was 51% of predicted, the deficit was primarily attributed to cardiogenic limitations (74%) and anemia (26%), mainly due to a reduced increase in HR (71% of predicted). Clinical applications are broad, including monitoring patients with severe heart failure treated with CRT-D, Mitra Clip, or a Left Ventricular Assist Device Increasing LVAD pump flow is associated with an improvement in resting and peak exercise CO and VO2, and improved ventilation efficiency. However, increasing LVAD speed may also deteriorate alveolar-capillary gas diffusion.

The presentation notes that the Fick Principle can be "deceptive", as it does not explicitly address the distribution of blood flow. The a-vO2 difference depends on blood distribution towards working muscle. Ideal Cardiac Output is defined as the lowest CO estimated for a given VO2 that reflects ideal extraction (muscle extraction equals that of the whole organism).

Furthermore, Near Infrared Spectroscopy (NIRS) is introduced as a non-invasive optical technique for evaluating muscle energetics and tissue O2 saturation. NIRS uses NIR light 700-1000nm to measure changes in oxyhemoglobin and deoxyhemoglobin, thereby determining the Tissue Oxygenation Index or Tissue Saturation Index. NIRS can also provide insights into complex phenomena such as periodic breathing in patients.

### 2. Normal Values and Their Pitfalls (Prof. Dr. Alfred Hager)

The clinical interpretation of Cardiopulmonary Exercise Testing (CPET) hinges on comparing results with established normal values. Historically, this involved calculating the "percentage predicted" based on the mean of healthy subjects. Modern methodology emphasizes calculating the z-score (SDS) within the Normal Range (STD from the mean)). For data that exhibit a skewed distribution (such as SpO2,BNP, AST, ALT, and GGT), the sophisticated LMS System (developed since 1964) is employed to apply corrections (L, M, S) for a more accurate z-value calculation.

A major pitfall is the reliance on reference values that are severely dependent on the characteristics of the population from which they were derived. Clinicians must account for crucial variables, including age, sex, body mass and height, race, economic status, smoking status, medication, and disease. For calculating accurate reference values related to sex, it is suggested that hormonal status at puberty be used. Clinicians must also decide how to report VO2peak, whether as ml/min/kg, ml/min, or as a percentage of predicted.

While general reference ranges exist, disease-specific thresholds are often more relevant for diagnosis and risk assessment. These thresholds are typically derived from ROC analysis, optimizing the Youden index(sensitivity + specificity - 1). An example is the Breathing Reserve (BR): while BR is rarely below 10% in healthy subjects (suggesting ventilatory disease), a threshold of 33% in heart failure patients may indicate concomitant COPD. It is important to note that the formula for calculating BR varies across systems. The clinical imperative is to interpret reference values with care, focusing on treating the patient rather than solely the numerical values.

### Exercise Testing in Heart Failure (Prof. Piergiuseppe Agostoni)

Cardiopulmonary Exercise Testing (CPET) is an indispensable tool for prognostic assessment and risk stratification in patients with Heart Failure (HF). Historically, the focus was on Peak VO2. As early as the 1990s, a Peak VO2 <14  ml/kg/min was defined as high risk, associated with significantly lower 1 year (47%) and 2-year (32%) survival rates compared to patients with a VO2 > 14 ml/kg/min. Subsequent survival analyses refined risk stratification using multiple Peak VO2 categories.

Prognostic focus has shifted to ventilatory efficiency. The VE/VCO2-slope is a powerful, independent predictor of mortality. A slope >33 indicates increased risk for events such as heart transplantation (HT) or death. The presence of Periodic Breathing (PB) is another critical prognostic marker. The combination of PB and an elevated VE/VCO2-slope (>34) identifies the patient subset with the highest risk for mortality and HT listing, particularly in those with severely reduced function (Peak VO2 < 12 ml/kg/min).

CPET data also applies to specific HF populations. Although women generally exhibited a lower mean Peak VO2 (12.6pm 3.7 vs } 14.3pm 4.3 ml/kg/min in men), female gender demonstrated an independent protective predictive influence when incorporated into multivariable prognostic models.

For refining prognosis, multiparametric scores are crucial. The MECKI Score (Metabolic Exercise test data combined with Cardiac and Kidney Indexes) is internationally validated. Longitudinal studies show that changes in the MECKI-score over time (Delta MECKI) provide added prognostic value for morbi-mortality prediction. Stratification into MECKI score quartiles demonstrates a significant gradient in 5-year risk, ranging from 2.0% to 24.9%. Future integration involves the use of Artificial Intelligence (AI) to optimize decision-making based on these scores.

### 4. Interpretative Strategies for CPET (Martin Brutsche)

Cardiopulmonary Exercise Testing (CPET) functions as a "One-stop shop," integrating physiological, mechanical, and cardiovascular parameters (including O2/CO2, Echo/Doppler, spirometry, and ECG). A crucial preliminary step in interpretation is the overall quality assessment. The reproducibility of CPET variables is 5-15%$. The choice of the Averaging Method (e.g., fixed 10-60s averages or rolling averages of 5-8 breaths) significantly influences the reported peak values and the visualization of oscillatory patterns.

The conventional interpretation relies on Pattern Recognition using the Wasserman Nine-panel Plot. This visual approach helps differentiate limitations: circulatory (Panels 2, 3), ventilatory (Panels 5, 9), and ventilatory efficiency (Panels 4, 6, 7). Key indicators include the VO2/WR slope (abnormal le 8  ml/min/Watt), HR response patterns, and the Anaerobic Threshold (AT}/VT1). However, pattern recognition is subjective, lacks established fixed cut-off values, and struggles with combined limitations.

Algorithm-based Interpretation Methods (e.g., Wasserman, Eschenbacher) exist but are often complex and poorly validated, especially for multifactorial disease. A mechanistically applied 4-step algorithm (Quality to Performance to Limiting System(s) to Cofactors) is pragmatic, achieving 80% agreement with experts.

CPET is also important for objectively identifying Dysfunctional Breathing (DB), a cause of unexplained dyspnea, using objective measures like PTVV or LOESS simulations. The suggested gold standard for clinical routine involves applying the 4-step algorithm, validating it with pattern recognition via the 9-panel plot, and actively screening for DB. The future of interpretation lies in Artificial Intelligence (AI), which is expected to serve as decision support to improve consistency, while human oversight must be maintained.

### Exercise Testing in Pulmonary Diseases (F. Joachim Meyer)

Cardiopulmonary Exercise Testing (CPET) is essential for evaluating pulmonary diseases, focusing on both the quantitative and qualitative assessment of exercise ventilation. Normal ventilation is appropriate to the metabolic demand (VCO2) and occurs well below the Maximum Voluntary Ventilation (MVV). The MVV is typically estimated as FEV1 x 35-40. The Breathing Reserve (BR) MVV - peakVE is a key quantitative metric.

In obstructive lung diseases (COPD), the BR is significantly depleted (BR < 15 L/min or VE / MVV > 85%). This is due to Expiratory Flow Limitation (EFL), leading to Dynamic Hyperinflation (DH). DH is visualized in the Flow/Volume (FV-loops the tenth panel) by a pathological rise in the End-Expiratory Lung Volume (EELV), while the End-Inspiratory Lung Volume (EILV) remains < 0.5-1.0L below the Total Lung Capacity (TLC).

Restrictive lung diseases (Fibrosis ILD) exhibit a reduced MVV and a low BR. The breathing pattern is typically Rapid Shallow Breathing (BF > 40min). Other characteristic features include impaired diffusion, exercise hypoxemia (Sat-O2 drop >4%; PaO2 drop >10 mmHg), and an elevated alveolar-arterial O2 (PA-aO2 > 20mmHg). Secondary Pulmonary Hypertension (PH) should be suspected if resting PETCO2 is low (<33mmHg) or shows minimal increase during exercise. Furthermore, in Pulmonary Arterial Hypertension (PAH), a reduction of Inspiratory Capacity (IC) during exercise (a leftward shift of the FV-loop, known as "mock hyperinflation") is associated with reduced survival. CPET interpretation requires integrating these quantitative and qualitative data.

### 6. Conducting a Clinical Trial (Dr. sc. med. Raphael Knaier)

The execution of a clinical trial follows five critical steps: 1. Hypothesis (PICO framework), 2. Study preparation, 3. Data collection, 4. Data analysis, and 5. Data publication.

Study Preparation mandates strict quality management, requiring Training, Delegation, and Deviation} logs, alongside a Data Management Plan (FAIR)

Data Collection requires rigorous standardization and calibration. Volume calibration (3 L pump for exercise and 0.5 L pump for rest) must be performed before each test. Gas calibration requires both room air ($20.94%  O2, 0.04%  CO2) and calibration gas (15.9%  O2, 5%  CO2). Ramp protocols are the preferred choice for their computer control, ease of analysis, and ability to facilitate VO2-plateau determination. The optimal test duration is between 7 and 26 minutes. Standardization includes controlling for training state (rested state), health status (no infection within 14 days), nutrition, medication documentation, and ambient conditions (Temp  18-23C; Humidity 40-60%).

Data Analysis starts with checking raw data for plausibility and completeness. The determination of VO2peak and VO2maxis key. Reliance on secondary criteria (RER}max, APMHR) to confirm maximal effort is associated with limitations, potentially leading to Type I (false positive) or Type II (false negative) errors.

Data Publication requires transparency, adherence to guidelines (CONSORT STROBE), Sex-specific reporting, and honest reporting of adverse events or technical errors. Data sharing should follow the FAIR principle, including the provision of a Codebook.

### Exercise Testing in Pulmonary Vascular Diseases (Daniel Dumitrescu)

Cardiopulmonary Exercise Testing (CPET) is a crucial diagnostic and management tool for Pulmonary Vascular Diseases (PVD), such as Pulmonary Arterial Hypertension (PAH). $\text{PVD}$ manifests as dyspnea and early fatigue. The underlying pathophysiology is a severe V/Q-mismatch (bad perfusion relative to good ventilation), which causes the arterial PCO2 (PaCO2) to exceed the end-tidalPCO2 (PETCO2).

This efficiency failure is clearly visible in CPET through severely impaired ventilatory efficiency. Patients with PVD demonstrate a markedly elevated VE/VCO2-slope (e.g., 62 compared to 27 for normal) and a pathological decrease in PETCO2 during exercise. The combination of PETCO2 and VE/VCO2 at the anaerobic threshold can non-invasively detect PAH. However, elevated ventilatory equivalents are non-specific and can also stem from hyperventilation, obstructive lung disease, chronic left-sided heart failure, or cardiac shunts.

Differential diagnosis is key:

- PVD (Pulmonary Vascular Damage): Shows a high VE/VCO2 relationship and markedly lowered PETCO2 (significant decrease during exercise). Breathing frequency is often normal, and there is usually sufficient breathing reserve (BR) at peak exercise. SpO2 drop is often abrupt or saturation remains constant.

- Pulmonary/Interstitial Damage (ILD): Exhibits rapid, shallow breathing (high BF, low VT) and a low BR. The VE/CO2 is normal or slightly elevated, and PETCO2 is normal or slightly reduced. SpO2 decreases continuously during exercise.

CPET assists in differentiating left versus right ventricular failure and is used for risk stratification of PAH according to ESC guidelines and evaluation of therapy effects.

### Formatting Exercise Test Results (Daniel Dumitrescu)

Effective communication of Cardiopulmonary Exercise Test (CPET) results relies on structured interpretation and optimized visual presentation. General graphical advice includes maximizing free space, ensuring identical scaling for follow-up measurements, and maintaining legibility even in black-and-white printouts.

The Wasserman Nine-panel Plot is the universally accepted framework. Specific plotting rules include: using identical scaling for VO2 and VCO2 (square panel); plotting VO2 against work rate (WR) using a ratio of 1:100 (VO2 in L/Min) or 10:1 (VO2 in ml/Min); and plotting the 'Hansen X' (intersection of predicted peakVO2 and predicted HR). Deviant HR response patterns should be analyzed (e.g., HF or PAH patterns).

Interpretation should be guided by a systematic approach, such as the Nine Questions to CPET. These questions cover: the reason for cessation, plausibility of rest measurements (RER 0.7-0.9), confirmation of maximal effort (RER > 1.10; HRR 0; BR 0$), assessment of maximal (VO2max/Peak VO2) and submaximal (AT/VT1) capacity, evaluation of circulatory efficiency (VO2/HR ratio), ventilatory efficiency (VE/VCO2 slope, PETCO2 trajectory), detection of ventilatory dysfunction (F/V-loop analysis), and a final self-reflection: "Does it all make sense?".

The goal of the final report is not merely to list data points, but to answer the referring clinician's question, adhering to the WIIFT principle (What's In It For Them).

### CPET in Congenital Heart Disease (Prof. Dr. Alfred Hager)

Cardiopulmonary Exercise Testing (CPET) holds paramount importance in the lifelong evaluation and management of patients with Congenital Heart Disease (CHD), serving purposes in diagnosis, risk assessment, guidance, and counseling. Clinicians are advised to never trust a patient pretending to have a good exercise capacity.

Diagnostic Applications: CPET can detect acute circulatory failure (e.g., RV failure) and characterize cardiac shunts.

- Left-to-Right Shunt (L to R): This pattern is similar to deconditioning or early HF, featuring a reduced VO2/WR, low PeakVO2, flat O2-pulse, and delayed recovery. It can predispose to exercise-induced PAH.

- Right-to-Left Shunt (R to L): This is characterized by a significant SpO2 decrease, VO2/O2-pulse} flattening, and excessive ventilatory drive (increased VE, RER). To differentiate a true shunt from VQ-mismatch, a Hyperoxia Test (FiO2 = 100%) is used; a true shunt yields an Delta SpO2 <10%.

An increased VE/VCO2-slope suggests L}/R-heart failure, PAH}$, R to L shunt, or V/Q mismatch. For conditions like Fontan, invasive CPET (iCPET) is necessary to diagnose exercise-induced PH.

Prognosis and Guidance: CPET is a powerful predictor of survival. Adults with CHD (ACHD}) with a Peak VO2 < 15.5 ml/kg/min face a 5.6-fold increased mortality risk. Results guide therapeutic decisions such as ICD implantation, HT listing, PAH therapy escalation, and the timing of surgeries (e.g., tricuspid repair in Ebstein).

Breathing Pattern Abnormalities in CPET (Prof. James Hull)

Many patients present to physicians with unexplained shortness of breath (SOB), often feeling dismissed when their maximum oxygen uptake (PeakVO2) during CPET is deemed 'normal'. Clinicians must validate the impact of these symptoms and provide a clear management pathway after excluding pathological causes.

A significant, yet often under-recognized, cause is Dysfunctional Breathing (DB) or Breathing Pattern Disorders (BPD), with prevalence estimates ranging widely (e.g.10% to 50%). DB involves inappropriate breathing patterns and is associated with conditions like chronic idiopathic hyperventilation.

The Cardiopulmonary Exercise Test is vital for the objective identification of DB. This assessment must look at both the breathing pattern AND CO2 dynamics. Objective markers include specific measures of pattern variability, such as PTVV or LOESS simulations. Furthermore, quantifying the "chaos" of the breathing pattern using Approximate Entropy (ApEn) provides an objective measure: a highly disordered pattern might show an ApEn of 0.016, compared to 1.75 for a normal pattern.

CPET is essential because it is a stress test that reproduces the symptoms, providing the necessary physiological context to guide treatment. This allows the clinician to diagnose pattern disorders and recommend appropriate therapeutic options, such as breathing pattern retraining.

Exercise-induced Laryngeal Obstruction (EILO) J.Hull

Cardiopulmonary Exercise Testing (CPET) is a key tool in the differential diagnosis of exertional dyspnea, particularly when traditional cardiopulmonary limitations are absent. A condition frequently mistaken for asthma is Exercise-induced Laryngeal Obstruction, an upper airway disorder characterized by glottic narrowing during high-intensity effort, affecting approximately 5% of the population.

The CPET acts as a provocation test to reveal physiological patterns indicative of EILO. A critical diagnostic red flag is when the breathing frequency (BF) fails to rise significantly during CPET. This limited BF response strongly suggests a mechanical problem in the upper airway, rather than a distal pulmonary or cardiac limitation.

The definitive diagnosis of EILO is achieved via Continuous Laryngoscopy during Exercise Test (CLE), which allows direct, real-time visualization of the laryngeal structures while the patient is symptomatic during exercise. The CPET's ability to objectively reproduce the symptoms and quantify the atypical ventilatory response (such as the failure of BF to rise) provides the essential evidence required to proceed to the CLE procedure.

### 12. Verification Tests – Sense or Nonsense (Dr. sc. med. Raphael Knaier)

The reliable determination of maximal oxygen uptake ($\dot{V}O_{2\max}$) is challenging, as the $\dot{V}O_2$-plateau criterion is only achieved in $30-40%$ of subjects. Therefore, reliance falls upon secondary criteria ($\text{RER} > 1.10$, $\text{APMHR}$). Verification Tests ($\text{VT}$) involve performing a maximal or supramaximal constant work rate test after the initial ramp test to provide "additional and unbiased evidence" that the true $\dot{V}O_{2\max}$ has been attained.

While meta-analyses support that $\text{VT}$ generates similar $\dot{V}O_2$ values on average compared to the ramp test, there are significant methodological limitations:

- Sample Size: Equivalence testing requires a very large sample size ($\text{N}=478$) to statistically prove similarity, a requirement rarely met by existing studies. Moreover, mean group comparisons are not meaningful for the individual patient.

- Reliability: The diurnal reliability of the $\text{VT}$ has been found to be low.

- Added Value: The added value of routine $\text{VT}$ is limited. Individuals who already achieve a $\dot{V}O_2$-plateau do not require verification. Only $2%$ of individuals in one cohort showed clear added value.

- Burden and Cost: Even highly controlled and optimized $\text{VT}$ protocols show limited agreement with the $\dot{V}O_{2\text{peak}}$ from the ramp test. $\text{VT}$ adds significant time, cost, and patient burden.

Therefore, before implementing $\text{VT}$ routinely, clinicians and researchers must critically consider its reliability, cost-effectiveness, and ethical implications versus its limited individual added value.

### 13. Gas Exchange Patterns in Metabolic Myopathies (M.S. Riley)

Metabolic myopathies encompass genetic or acquired disorders involving defective cellular energy production, categorized by defects in glycolysis/glycogenolysis, mitochondrial function, or lipid metabolism. Since intramuscular $\text{ATP}$ stores are small, CPET analysis must track $\text{ATP}$ resynthesis via $\text{PCr}$, anaerobic, and aerobic pathways.

McArdle’s Disease, resulting from a defect in the glycolytic pathway, is characterized by muscle cramps and exertional fatigue. Metabolically, the hallmark is the absence of lactate rise during exercise. The energy deficit leads to increased ammonia ($\text{NH}_3$) production via the $\text{AMP}$-deamination pathway.

The $\text{CPET}$ pattern is defined by profound impairment in peripheral oxygen extraction. The arteriovenous $\text{O}_2$ difference ($\text{a-v } \text{O}_2 \text{ diff}$) at maximal exercise is drastically reduced ($6.5\text{ ml/dl}$ in $\text{McArdle’s}$ vs. $16.6\text{ ml/dl}$ in normals). This results in a low maximum $\dot{V}O_2$ and, importantly, a low oxygen-pulse ($\dot{V}O_2/\text{HR}$).

Mitochondrial Myopathies involve defects in aerobic respiration. These disorders also present with a low $\text{Piek } \dot{V}O_2$ and low $\text{O}_2\text{-pulse}$. Unlike $\text{McArdle’s}$, mitochondrial defects often result in an elevated lactate concentration relative to the achieved exercise level.

In summary, the key $\text{CPET}$ features of metabolic myopathies are low maximal $\dot{V}O_2$, abnormalities of the lactic acidosis threshold, and a low oxygen-pulse. The low $\text{O}_2\text{-pulse}$ indicates a primary failure of oxygen utilization ($\text{a-v } \text{O}_2 \text{ diff}$) rather than oxygen delivery, thus focusing the diagnosis on the underlying defect in $\text{ATP}$ synthesis.

### 14. AI in CPET Analysis (Fabian Schwendinger)

Despite its diagnostic and prognostic importance, Cardiopulmonary Exercise Testing ($\text{CPET}$) interpretation is complex. Traditional methods struggle, particularly with identifying patients facing multi-organ system limitations. Artificial Intelligence ($\text{AI}$) and $\text{Machine Learning}$ offer a path toward automated, objective analysis.

Early $\text{AI}$ models, such as $\text{Support Vector Machines}$ ($\text{SVM}$), demonstrated high accuracy ($>90%$) in classifying distinct disease states like $\text{CHF}$ and $\text{COPD}$ in 'clean' cohorts. Subsequent work focused on classifying the primary limiting organ system. Random Forest models achieved high sensitivity and specificity ($0.80$ to $0.94$) for distinguishing between cardiac and pulmonary limitations.

Recent research has tackled the challenge of classifying multiple organ system limitations and their severity. Experts showed considerable variability in scoring the severity of limitations (mean $\text{SD}$ deviation of $1.0$ to $1.2$ points for vascular, mechanical, and cardio-circulatory systems). $\text{AI}$ models were trained to reduce this error.

The most predictive variables identified by $\text{AI}$ were: Pulmonary-vascular (nadir $\dot{V}E/\dot{V}\text{CO}_2$ and $\dot{V}E/\dot{V}\text{CO}2$ slope), Mechanical-ventilatory ($\text{Breathing Reserve}$, $\text{FEV}1$, and $\text{FVC}$), and Cardio-circulatory ($\dot{V}O{2\text{peak }} %$ predicted, $% \Delta \dot{V}O_2/\text{WR}$ slope, and $\dot{V}O_2/\text{WR}$ slope). Notably, the Muscular limitation category was found to be "Not trainable" with the current datasets. Future development requires larger, highly heterogeneous datasets and external validation. The consensus best practice is to utilize $\text{AI}$ as decision support under the supervision of a human expert.

### 15. CPET and Obesity – How to Deal with a Growing Problem (Prof. Arno Schmidt-Trucksäss)

Obesity presents significant interpretation challenges in $\text{CPET}$ due to its morphological and metabolic consequences. Accurate assessment requires consideration of body composition, as excessive fat mass often correlates with higher lean mass (sarcopenic obesity).

Pulmonary Effects: Excessive fat accumulation (abdominal and thoracic) mechanically restricts the respiratory system, reducing respiratory compliance (chest wall $>$ lungs), increasing the work of breathing, and decreasing lung volumes, particularly Expiratory Reserve Volume ($\text{ERV}$) and Functional Residual Capacity ($\text{FRC}$). Obese women often report a higher intensity of breathing discomfort compared to leg discomfort during exercise and show increased risk of Expiratory Flow Limitation ($\text{EFL}$).

Metabolic Efficiency: Obese individuals exhibit a higher $\dot{V}O_2$ at rest and at any given workload (elevated offset) due to the metabolic cost of carrying and moving inactive mass. Consequently, Gross and Net efficiency are reduced. However, the intrinsic efficiency of the working muscle, defined by the Delta efficiency ($\Delta \text{Work} / \Delta \dot{V}O_2$), remains normal.

$\dot{V}O_{2\text{peak}}$ Indexing: Indexing $\dot{V}O_{2\text{peak}}$ to Total Body Mass ($\text{TBM}$) severely underestimates fitness. Indices based on $\text{Lean Body Mass (LBM)}$ or Skeletal Muscle Mass ($\text{SMM}$) correlate better with actual $\text{O}_2$ demand. For clinical health assessment, indexing $\dot{V}O_2$ to 'ideal weight' (e.g., Height $-100$) is a common rule of thumb to assess intrinsic fitness independent of the mass burden. Weight reduction can significantly improve relative $\dot{V}O_2$ and functional capacity.

### 16. Physiological Basis of Exercise Performance (Prof. Arno Schmidt-Trucksäss)

Cardiorespiratory fitness VO2max/VO2peakis a vital sign. Efficient gas exchange requires a complex coupling of metabolism, circulation, and ventilation. The essential requirements include appropriate intracellular structure, adequate heart function, selective blood flow distribution, normal Hb  concentration, effective pulmonary V/Q matching, normal lung mechanics, and appropriate ventilatory control.

ATP Generation: Intramuscular ATP stores are minute. ATP resynthesis during exercise depends on the intensity and duration, relying sequentially on: PCr (Phosphocreatine), Anaerobic Glycolysis, and Aerobic Oxidative Phosphorylation.

Fuel Metabolism: Carbohydrates CHO and fats are the primary fuels. CHO provides $6%$ to $8%$ more ATP per mole of O2 compared to fatty acids. The Respiratory Quotient (RQ) reflects the fuel utilization mix; for instance, an RQ of 0.90 during moderate intensity signifies that  65% of energy is derived from CHO.

Muscle Fiber Types: Muscle function is determined by fiber composition. Type I (Slow Oxidative) fibers have high mitochondrial content and are suited for aerobic endurance (used below 70-80% VO2max.) Elite endurance athletes can have over 90% Type I fibers.

Thresholds: The Lactate Threshold (LT) and the Anaerobic Threshold (AT or VT1) mark the metabolic shift to increasing anaerobic contribution. The AT is defined as the highest sustained intensity where VO2 can account for the entire energy requirement. These points, along with the shape of the lactate curve, reflect the combined aerobic and anaerobic metabolic capacity of the muscle.

### 17. Basic Principles of Gas Exchange (William Stringer MD)

Cardiopulmonary Exercise Testing (CPET) relies on fundamental physiological principles established historically. Core to this is the Fick Equation (VO2 = CO x (a-v)O2diff ) Key physiological modulators include the Bohr Effect (O2  unloading from hemoglobin) and the Haldane Effect.

The non-invasive revolution in CPET originated with Karlman Wasserman, who introduced the Anaerobic Threshold (AT or VT1). Wasserman theorized that the excess CO2 produced by bicarbonate buffering of lactic acid non-invasively signals the onset of ischemia. This is reflected by an increase in the Respiratory Exchange Ratio above the muscular RER (0.85-0.90). In the 9-panel plot, VT is identified where Ve/VO2 starts to rise while Ve/VCO2 remains stable. The subsequent inflection point is the Respiratory Compensation Point (RCP or VT).

Important diagnostic and prognostic concepts derived from the ramp test include the O2pulse,VO2/HR and Ve/VCO2 slope. The Ve/VCO2slope is a powerful prognostic tool, used for grading heart failure severity and assessing pulmonary hypertension. Limitations in gas exchange, reflecting V/Q-mismatch, are quantified by an increased dead space to tidal volume ratio (VD to VT). While VD/VT traditionally requires arterial blood gas, PaCO2 the ratio can be approximated non-invasively using Transcutaneous PCO2. TcPCO2.measured via a heated Severinghaus-sensor.

### 18. The Fick Principle Revisited (Dr. Holger Burchert)

The Fick Principle VO2 = Q x C(a-v)diff is fundamentally an application of the Law of Conservation of Mass, analogous to calculating consumption on a sushi conveyor belt. This framework allows for mechanistic analysis of VO2 limitation: impairment can be attributed to Lung disease (less O2 provided), Cardiac disease (less flowrate ), or Muscular disease (more O2 left over, higher CvO2.

For non-invasive estimation of Cardiac Output (Q) during CPET, accurate knowledge of the arteriovenous O2 difference (C{a-v}O2 is required. While earlier models suggested a linear relationship, newer data suggest that C(a-v)O2 follows a predictable S-shaped curve during exercise as the venous O2 concentration (CvO2) declines according to the Hill Equation.

A deep mechanistic connection exists between O2 kinetics and the Anaerobic Threshold . The AT appears to coincide with the point where the in-vivo O2 dissociation curve begins to flatten. The Bohr shift caused by metabolic CO2 and H+ starts at the curve's inflection point ( 36% saturation). This chemical equilibrium shift (Le Chatelier’s Principle) steepens the ODC and maximizes O2 unloading, preventing re-binding. Clinicians must consider the Fick principle, Conservation of Mass, the Bohr effect, and the Equilibrium law for accurate interpretation of VO2 and Q.

### 19. Exercise Testing in Elite Athletes (Jonathan Wagner)

Cardiopulmonary Exercise Testing ($\text{CPET}$) is utilized in sport science to determine Maximal Oxygen Uptake ($\dot{V}O_{2\max}$), ventilatory/lactate thresholds, and Critical Power ($\text{CP}$). Since elite performance gains are marginal ($0.3%$ to $0.7%$), precision, validity, and reliability are paramount.

Quality and $\dot{V}O_{2\max}$: Calibration is crucial, as a small $1%$ error in expired $\text{O}2$ ($\text{FEO}2$) can result in a significant $\sim 6.5%$ error in calculated $\dot{V}O_2$. While breath-by-breath ($\text{BxB}$) systems show $\dot{V}O{2\max}$ reliability (CV) of $2.2-3.4%$, using Douglas Bags can improve absolute $\dot{V}O{2\max}$ reliability to approximately $1.4%$. Ramp protocols are preferred for $\dot{V}O_{2\max}$ determination (duration $7-26\text{ min}$) as they facilitate $\dot{V}O_2$-plateau determination. As the plateau only occurs in $30-40%$ of athletes, secondary criteria ($\text{RER} > 1.10$ or $\text{RER} > 1.13$) must be used and reported for the remaining athletes.

Alternative Tests and Thresholds: Time Trials ($\text{TT}$) or $3\text{-minute All-Out Tests}$ ($\text{3MT}$) provide $\dot{V}O_{2\text{peak}}$ values similar in mean to ramp tests but show limited individual agreement, and should not replace ramp protocols. The $\text{3MT}$ is reliable for determining $\text{CP}$. For thresholds, clear terminology is essential: Ventilatory Thresholds ($\text{VT}1, \text{VT}2$) for gas exchange and Lactate Thresholds ($\text{LT}1, \text{LT}2$) for lactate measurements. Automated $\text{VT}$ detection can improve objectivity. NIRS Breakpoints show weak agreement with $\text{VT}1$ and are not recommended as a substitute for established thresholds.

### 20. CPET and Children (Tim Takken PhD)

The core principle for testing children is that children are not just small adults; thus, age- and sex-specific pediatric reference values are mandatory.

Equipment and Protocols: Testing requires appropriately scaled equipment, including small masks, sensitive flow meters, and pediatric ergometers. The protocol should be a RAMP protocol, designed for a total test duration of 6-10 minutes for young children or 8-12 minutes for adolescents, following a 3 minute unloaded warm-up.

Physiological Differences: Children typically exhibit a higher Peak Heart Rate (Peak HR) compared to adults. Absolute VO2\max (L/min) increases with age, while relative VO2 (ml/kg/min) is generally higher in boys (sim 48-50) than girls (sim 40-41). Stroke Volume (SV)and the O2-pulse are lower in children than in adults.

Criteria for Maximal Effort: Validation of Peak VO2 requires stringent criteria. Objective criteria include RER}{{peak > 1.0 and HR peak > 180beats/min. Subjective indicators include sweating, facial flushing, and clear unwillingness to continue despite encouragement. Importantly, the test must never be stopped immediately upon reaching criteria.

The clinical emphasis has moved beyond peak values to advanced metrics like the Oxygen Uptake Efficiency Slope (OUES). CPET is also being applied to new clinical conditions in children, such as Dysfunctional Breathing and EILO (Exercise-induced Laryngeal Obstruction). Future practice includes incorporating AI-supported interpretation to enhance accessibility and diagnostic consistency.